{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["周口市天然气有限公司","WpsReserved_CellImgList"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"周口市天然气有限公司","index":0,"n_rows":9,"n_cols":10,"rows_kept":9,"merged":[[1,0,1,9]],"flags":["formulas_cached_only"]}
["附件2"]
["油气管网设施基础信息"]
["发布单位："]
["地区公司","设施名称","设施类型","储运介质","起止点/所在地","途经地区","长度\n（公里）","设计压力\n（兆帕）","投产时间\n（ 年 月）","设计能力\n（万吨，亿方/年）"]
["周口市天然气有限公司","淮项管线","长输管道","天然气","起点：淮阳李集分输站/周口市淮阳区\n终点：项城门站/项城市城区北部","淮阳区、项城市",{"v":27.1,"d":"27.10"},{"v":4,"d":"4.0"},"2011-04-10",2.14]
["周口市天然气有限公司","项沈管线","长输管道","天然气","起点：项城门站/项城市城区北部\n终点：沈丘门站/沈丘县高速口西","项城市、沈丘县",{"v":23.1,"d":"23.10"},2.5,"2012-07-01",0.3]
["周口市天然气有限公司","淮郸鹿管线","长输管道","天然气","起点：淮阳李集分输站/周口市淮阳区\n终点：鹿邑门站/周口市鹿邑县","淮阳区、郸城县、鹿邑县",84.48,{"v":4,"d":"4.0"},"2012-07-01",4.6]
["周口市天然气有限公司","周西管线","长输管道","天然气","起点：于楼门站/周口市城区东北部\n终点：西华门站/周口市西华县","周口市、西华县",{"v":32,"d":"32.00"},{"v":4,"d":"4.0"},"2012-05-10",1.5]
["周口市天然气有限公司","西扶管线","长输管道","天然气","起点：西华门站/周口市西华县\n终点：扶沟门站/周口市扶沟县","西华县、扶沟县",{"v":57.1,"d":"57.10"},{"v":4,"d":"4.0"},"2015-04-01",3]

{"sheet":"WpsReserved_CellImgList","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"hidden":true,"flags":["formulas_cached_only"]}